# 30 June 2016

**Miling of Chromium coated SiN membrane.  
Piercing through the membrane with different doses**


**11:30**

**Parameters :**

|  |  |
| --- | --- |
| Coating | 5 nm Cr |
| Thickness | 5 + 100 nm |
| Beam | --- |
| Measured current | 6.95pA |
| Loop Factor | 20 |
| Line Dose | 1000 then 3000 µC/cm |
| Dot dose | 0.10044 then 0.8 pC |
|  |  |
| Design | *Multiple fall* |
| Design Dose factor | *1* |


**Experience and Results:**

Left: Line dose 1000 and Dot dose 0.10044  
Right: Line dose 3000 and Dot dose 0.8  
From left to right: dose factor …



A dose of 20\*0.10044\*df=**2.0088**pC is enough to pierce through the membrane with dots. For low doses a part of the membrane seems to hold on to a border:  


Concerning lines, a dose of higherDF\*( 20\*3000µC/cm=60000µC/cm) is not enough to pierce through the membrane.


**To bring forward the importance of doses, we will use a new design:** *multiplefall-bestdoses* **composed of dose factors: 0.1; 0.2; 0.3; 0.4; 0.6; 0.8 on a first line, and 1 to 6 on a second line.**



**12:15**

**Parameters :**

|  |  |
| --- | --- |
| Coating | 5 nm Cr |
| Thickness | 5 + 100 nm |
| Beam | --- |
| Measured current | 6.83 pA |
| Loop Factor | 20 |
| Line Dose | 1000 µC/cm |
| Dot dose | 0.1 pC |
|  |  |
| Design | *Multiple fall* |
| Design Dose factor | *1* |

**Experience and Results:**



The dot at dose factor 0.6 does not pierce the membrane, contrarily to the dot at 0.8:  
 

Therefore, the limit dose to pierce through the membrane is supposed to be between 20\*0.1\*0.6=**1.2pC** and **1.6pC.** Moreover a line dose of 20\*1000\*6\*0.032=3840pC